## Sheet1
NEGROS OCCIDENTAL ELECTRIC COOPERATIVE (NOCECO)
COMPETITIVE SELECTION PROCESS (CSP) FOR THE SUPPLY OF
10MW BASELOAD REQUIREMENT OF NOCECO
TO SUPPLY POWER FOR 2023-2033
SECOND SET OF THE MATRIX OF COMMENTS
NO. | REFERENCE DOCUMENT | ITEM / SECTION | PROVISION | CLARIFICATION/ RECOMMENDATION | NOCECO REPLY
1 | Revised Annex-b Financial Proposal | All Sheets | All Sheets | We noticed that there was a significant revisions from the previous template. Kindly elaborate each item contained in the revised financial proposal template. | Please see “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)”
2 | Revised Annex-b Financial Proposal | Bid Form 1b Fuel Foreign | Bid Form 1b Fuel Foreign | Are these sheets (Bid Form 1b Fuel Foreign (1), Bid Form 1b Fuel Foreign (2), Bid Form 1b Fuel Foreign (3) as well as Bid Form 1b Fuel Local (1), Bid Form 1b Fuel Local (2) ) refers to each nominated plant? If so, if we only have one nominated plant we will only need to fill out 1 sheet? | Please see “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)”
3 | Revised Annex-b Financial Proposal | Bid Form 1b Fuel Foreign | Bid Form 1b Fuel Foreign | During the prebid conference, most if not all of the bidders commented/suggested to have a standard forecasting method or to have it built-in in the template for an apple to apple comparison. May we know if NOCECO will provide a forecasting method as reference? | Please see “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)”
4 | Revised Annex-b Financial Proposal | Bid Form 1b Fuel Foreign (1) | Cells I22 & 23, vii: Number of Units Consumed | What does this column/item mean? Kindly elaborate | Please see “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)”
5 | Revised Annex-b Financial Proposal | Bid Form 1b Fuel Foreign (1) | F: Total Cost for Fuel, Php/kWh Cells K24:K143 | Kindly double check the formula. The resulting unit is Php-Unit/kWh2 instead of Php/kWh. | Please see “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)”
6 | Revised Annex-b Financial Proposal | Bid Form 1b Fuel Foreign (1) | Fuel Source (Row 17) | What does Fuel Source mean? | Please see “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)”
7 | ITB | 15.1 Bid Security | The bidder shall submit a bid security equivalent to two percent (2%) of the total fixed cost per kwh of power supply to NOCECO for ten (10) years or equivalent to Forty-Two Million Forty Eight Thousand (₱42,048,000.00) in the form of cashier’s check or manager’s check issued to Negros Occidental Electric Cooperative or NOCECO and only by a Universal or Commercial Bank. | May we follow-up on our query: Can we submit a Standby Letter of Credit (SBLC) in lieu of the Cashier’s Check or Manager’s Check? | Please see Bid Bulletin No. 5
8 | ITB | 11.3 Disqualification of Bidder | i. Board Resolution/Secretary’s Certification of the Bidder’s Authorized Representative to the NOCECO-CSP process and the Transaction, and Authorized Signatory/ies to the Bidding Documents and the PSA. | Should the Secretary’s Certificate specify "NOCECO-CSP" or a general "CSP" will suffice? | NOCECO-CSP
9 | Instruction to Bidders (ITB) | Item 8.5 | Bidders must have a debt ratio not exceeding 50% as reflected in the 2020 Audited Financial Statements | On Commercial Operation Date (COD) our Debt Ratio was at 80%. This was the leverage agreed with the banks for our Project Financing of MPC. Meaning, it is at this debt ratio that banks were confident of being paid their principal and interest in full. Given this situation, may we request for your consideration on this matter? We would like to know if there is anu equivalent financial measure as debt ratio cannot be the only basis for financial capability. | The requirement will be used to asssess the future sustainability of the genco, to ensure continuous delivery of electricity and enforcement of the contract. Kindly provide us also your computation for your liquidity (current ratio) and profitability ratio (gross profit margin)
10 | Instruction to Bidders (ITB) | Item 8.2 | 8.2. The Bidder must have a power plant/s connected to the Luzon-Visayas Grid which has an available and dependable capacity no lesser than the requirement of NOCECO. The full contracted capacity required by NOCECO must be sourced from the said power plant/s. | Our plant is located in Mindanao but with the Mindanao-Visayas Interconnection project, we can supply to NOCECO on the target date of December 26, 2023. | Please provide a signed certification from NGCP stating that the Mindanao-Visayas connection is ready by target date and can accommodate the complete delivery of power supply of Bidder to NOCECO on target date.
11 | Instruction to Bidders (ITB) | Item 14.2.2 | Matrix of Bidder’s customers with whom the Bidder have power plant operation, rental or power supply contracts. The statement shall include, for each customer the following: i. Name and address of company ii. Telephone, cellphone and fax numbers, website URL, and email address of the company iii. Name and position of authorized contact person(s) iv. Telephone and cellphone number and email address of contact person(s) | As mandated by the Data Privacy Act and also because we have a standing Non-Disclosure Agreement with our customers, the list of customers that we will submit is limited to those customers who have given their consent to be included in the list. | Please see Bid Bulletin No. 4
12 | Instruction to Bidders (ITB) | Item 17. 2 | Bidder shall be required to submit the following documents: (d)Copy of Fuel/Coal/Steam Sale Agreement (e) Copy of Agreement for the Supply and Delivery of Goods/Fuel | We have a standing NDA with our supplier/s, in addition to the fact that this is confidential information. In lieu of this, can we submit a write-up on our fuel procurement process? | Bidder may provide a redacted copy of the agreement, provided that the following data can still be clearly seen: 1. duration of the contract 2. computation of charges/fees
13 | CSP Portal Invitation to Bid | Force Majeure | V. accidents of navigation or breakdown or injury of vessels, accidents to harbors, docks, canals, or other assistance to or adjuncts of shipping or navigation; | Why does navigation accidents figure in force majeure – for the NOCECO delivery of power? | The provision on Force Majeure application is not limited to NOCECO alone. Thus, this FM event may be applicable to possible delay in delivery of power due to unavailable fuel caused by item V.
14 | CSP Portal Invitation to Bid | Grounds For Termination | vii. ERC delayed approval, whether provisional or final, of more than one (1) year upon application for joint approval of the PSA. | The PSA should not be tterminated after 1 year of filing It should be only an option for the Supplier to terminate the PSA if this happens. | We remain in our stand that this shall be a ground for termination. However, during the 1st set of Summary of Matrix, it was suggested to re-phrase it to: ERC delayed provisional approval of one (1) year upon pre-filing of the joint approval of the PSA.
15 | CSP Portal Invitation to Bid | Reduction in Contracted Capacity | Contracted capacity may be adjusted in proportion to all contracted volume and capacity from all suppliers if there is a reduction in the capacity due to RCOA implementation and any other issuances by the Philippine government in which NOCECO is obliged to comply. Revision of monthly minimum energy off-take shall be undertaken by both parties. | NOCECO should be responsible for the contracting portfolio. Reduction in contracted capacity is not the concern of the Supplier which is passive – NOCECO is responsible for management of load – generator acknowledges – and will accept in the case of movement or closure of NOCECO's customers. | Please see Section 3.6 on the draft PSA for more details on how the Reduction of Contracted Capacity shall be negotiated between Supplier and NOCECO.
16 | CSP Portal Invitation to Bid | Regulatory Approvals | NOCECO and Supplier shall file with the ERC the joint application for the approval of the PSA in accordance with ERC Rules within thirty (30) calendar days upon signing of PSA. The Power Supplier shall make the necessary adjustments in accordance with the directive of the ERC. The Supplier shall provide for the legal services of the joint application, with full support from NOCECO. Downward adjustment in the rates shall not be a ground for the termination of the contract and NOCECO shall not be made to shoulder the incremental difference. | It says joint filing but responsibility for the action is on the Supplier only. It should be both ways for NOCECO and the Supplier - when rates are reduced by the ERC, the risks should be borne by both NOCECO and Supplier. | NOCECO remains in its position for this provision.
17 | Instruction to Bidders (ITB) | 3. Definition of Terms | Contract Period / Cooperation Period - refers to the ten-year period commencing on the Effective Date. | Suggest to revise this to: 10 years from commencement date, unless otherwise terminated in accordance with the provisions of the PSA. The commencement date of the contract shall be (i) the immediately 26th day of the month following ERC approval, whether provisional or final, or (ii) December 26, 2023; whichever is later. | As stated in the previous Matrix of Comments, we state: Commencement Date or Commercial Operation Date shall be added on the definition of terms Commencement date shall be the date that the contract shall start which shall be on a) 26th day of December 2023, assuming the ERC approval is acquired by both parties, whether provisional or final, or b) the next immediate 26th of the month following the approval of ERC.
18 | CSP Portal Invitation to Bid | Replacement Power | Supplier shall be obliged to look for and provide the Replacement Power (RP) for the following events: 1.Delay of supply of contracted capacity on target delivery date. 2.Outages, scheduled or un-scheduled NOCECO shall pay the Supplier with the RP rate equivalent to the ERC approved contract rate or actual, whichever is lower. In the event that Supplier cannot provide NOCECO with a replacement power, NOCECO shall be allowed to source the replacement power at the expense of the Supplier. | Suggest to revise this to: Supplier shall be obliged to look for and provide the Replacement Power (RP) for the following events: 1. Delay of supply of contracted capacity on target delivery date. (except in case of (i) regulatory delay, i.e. erc approval; (ii) delay in Visayas-Mindanao Grid interconnection; 2. Outages, scheduled or unscheduled NOCECO shall pay the Supplier ith the RP rate equivalent to the final ERC approved contract rate (subject to adjustment and recovery in case of PA rate) or actual replacement cost incurred by the Supplier, whichever is lower. In the event that Supplier is not excused under this Agreement to provide NOCECO with a replacement power, NOCECO shall be allowed to source the replacement power at the expense of the Supplier. | Denied.
19 | CSP Portal Invitation to Bid | Force Majeure | NOCECO shall not be required to make payments for any of the following: >>Capacity that is unavailable >>Capacity that it cannot accept | Suggest to revise this as: During a valid claim of Force Majeure, NOCECO shall not be required to make payments for any of the following: >> Capacity that is unavailable >> Capacity that it cannot accept | This shall be considered.
20 | CSP Portal Invitation to Bid | Penalties | The SELLER shall be penalized (monetary, etc) in cases of the following events and circumstances: i. Delay in Delivery on Target Delivery Date. ii. Given that the requirement states that there is no “Outage Allowance”, the SELLER shall be penalized should it fail to provide Replacement Power if the main power plant source cannot deliver power, resulting in a failure of delivery of power; and iii. Other provisions found in this PSA. | Please clarify if this monetary and other penalties not specified are on top of the penalty provisions and remedies already available in the other provisions of the Agreement. We propose this to be deleted. | The computation of Penalties shall be based on the following: Total Contracted Energy multiplied to ERC-approved contract price or the prevailing spot market price for the hours in which the Supplier is unavailable, whichever is HIGHER.
21 | CSP Portal Invitation to Bid | Grounds for Termination | Material breach of the defaulting party's obligations under the PSA, subject to a prescribed cure period. The grounds for termination shall be discussed by NOCECO and the winning bidder. | Kindly insert this: mutual termination grounds must be agreed upon | Please see Article 9 of the Draft PSA for the detailed provisions.
22 | CSP Portal Invitation to Bid | Reduction in Contracted Capacity |  | The reduction in contracted capacity must only affect the variable charges, but not fixed charges, which is attributable to the commitment of making the capacity available, hence prohibiting suppliers from marketing the same to others. | NOCECO remains in its position for this provision.
23 | Instruction to Bidders | 14.2.2 Technical Documents | b) Matrix of the Bidder's ongoing projects and generation portfolio with the following minimum information for each power plant: ... vi. Number and average duration of scheduled and unscheduled outages for the last five (5) years, or the actual outage data for new power plants operating for less than five years supported by a Certification issued by the System Operator or client distribution utility. ... | May we clarify the purpose of the information required since per ITB, there shall be no outage allowance for the entire duration of the contract. May request to delete this requirement. | This is for the historical data and performance of the portfolio of plants owned by the Bidder. These are info that shall be reviewed during the post evaluation.
24 | Instruction to Bidders | 14.2.2 Technical Documents | c) Matrix of the Bidder's customer with whome the Bidder have power plant operation, rental or power supply contracts. The statement shall include for each customer the following: ... v. Number and average duration of scheduled and unscheduled outages for the last five (5) years, or the actual outage data for new power plants operating for less than five years supported by a Certification issued by the System Operator or client distribution utility. ... | May we clarify the purpose of the information required since per ITB, there shall be no outage allowance for the entire duration of the contract. May request to delete this requirement. | This is for the historical data and performance of the portfolio of plants owned by the Bidder. These are info that shall be reviewed during the post evaluation.
25 | Revised ANNEX B-2 TECHNICAL PROPOSAL v 05122023 | Sheet 2a Generation Portfolio / Row 17 to 38 Sheet 2b Customer Portfolio / Row 17 to 38 | 5-year Scheduled and Unscheduled Outage occurrence and duration. | May we clarify the purpose of the information required since per ITB, there shall be no outage allowance for the entire duration of the contract. May request to delete this requirement. | This is for the historical data and performance of the portfolio of plants owned by the Bidder. These are info that shall be reviewed during the post evaluation.
26 | Instruction to Bidders | 15 Bid Security |  | May the Bid Security be in the form of Standby Letter of Credit (SBLC)? If so, will the attached form be acceptable? If only CC/MC is allowed, will there be an interest at legal rate of six (6)% if the MC is returned late to the losing bidder? | Please refer to Bid Bulletin No. 5
27 | Instruction to Bidders | 16 Bid Security |  | May we know the validity period of the Bid Security? | Please refer to Bid Bulletin No. 5
28 | Instruction to Bidders | 16.5 Generated kWh of Nominated Plant |  | For the purpose of computing the generated kWh, what is the reference year and month? For clarity, what is the cover period for Year and Month - billing or calendar? | For the purpose of computing the generated kWh, what is the reference year and month? -- the latest data, and the projected data for the coming years For clarity, what is the cover period for Year and Month - billing or calendar? - Billing
29 | Annex B-1 FINANCIAL PROPOSAL | Sheet Bid Form 1a / Column A,B, and C
30 | Instruction to Bidders | 16.7 Fuel Fee (FF) | 16.7.4.2 For the succeeding months after the first month of the first year: a. Bidders shall provide forecasted monthly Fuel Cost, Transportation Cost, the Imports, Duties and Taxes Cost, Forex, and the Consumption Rate | What should be the basis of the forecasted monthly Fuel Cost, Transportation Cost, Imports, Duties & Taxes, Forex, and Consumption Rate? May we suggest to use a reference monthly index for the purpose of evaluation to avoid under declaration and uniformity of reference among bidders. Are the insurance cost and other incidentals already included in the computation of transportation cost? | Please refer to “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)”
31 | Instruction to Bidders | 16.6 Variable Operations and Maintenance Fee (VOM) 16.7 Fuel Fee (FF) | 16.6.3 …Bidder shall then provide a forecasted monthly VOM costs on the succeeding months after the 1st month of the 1st year. 16.7.4.2 For the succeeding months after the first month of the first year: a. Bidders shall provide forecasted monthly Fuel Cost, Transportation Cost, the Imports, Duties and Taxes Cost, and the Consumption Rate | For clarity, kindly confirm that the following components of the VOM and Fuel Fee shall be based on the actual cost during the implementation of the PSA, and the will not be construed as caps: a. CPI b. Fuel Cost c. Transportation Cost d. Imports, Duties, & Taxes e. FOREX f. Consumption Rate g. Number of Units Consumed Also, what should be the basis of the forecasted CPI? What forecast of fuel is acceptable? Can we do our own forecast or should it be based from a 3rd party such as the world bank? | Please refer to “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)”
32 | Instruction to Bidders | 17 Technical Proposal | 17.2 Bidder shall be required to submit the following documents: … d) Copy of Fuel/Coal/Steam Sale Agreement e) Copy for Supply and Delivery of Goods/Fuel … | Are the bidders allowed to redact confidential information on the documents due to confidentiality issues? Or the bidders can provide write-up instead these due to our Confidentiality Clause provision. | Bidder may provide a redacted copy of the agreement, provided that the following data can still be clearly seen: 1. duration of the contract 2. computation of charges/fees
33 | Instruction to Bidders | 18 Technical Proposal | 17.2 Bidder shall be required to submit the following documents: … f) Certificate/Document stating the Consumption Rate of Fuel Used j) Planned Preventive Maintenance Schedule for 2023 and 2024 | May we clarify the purpose of this requirement? Consumption rate is variable to the operation of the Plant. Is there a prescribed template? Does this only cover the same period as the Fuel and VOM fee to be used? Given that there was a guaranteed Repalcement Power, may we request that the PMS info should be deleted. | Please refer to “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)” Request for PMS info to be deleted - denied.
34 | Instruction to Bidders | 19 Technical Proposal | 17.3 b) Customer Portfolio - Bidders shall provide contracted capacity details for the customers of their nominated power plant. | Due to confidentiality issues, may the bidders issue an undertaking that the nominated power plant have available and uncontracted capacity of at least 10MW (capacity for bidding) in lieu of the required customer portfolio? | We have provided a revised template with consideration on the DPA
35 | Instruction to Bidders | 20 Format and Signing of Bids | All pages of each document submitted and all pages and all portions of the pages where corrections and/or amendments have been made, shall be signed by the Bidder’s authorized representative. Failure to do so shall be a ground for the rejection of the Bid. | For clarity, kindly confirm that all pages of the documents shall be signed by the authorized representative. If so, please confirm also that only the original copy of the documents shall bear wet signature on all pages, not including the photocopies on Class B and Class C envelope. | Yes
36 | Instruction to Bidders | C.8.5 Bidder's Eligibility, Responsibilities, and Disqualification | Bidders must have a debt ratio not exceeding 50% as reflected in the 2020 Audited Financial Statements. | Under the 2006 PGC, reiterated in the 2016 PGC, the prescribe debt-equity ratio is 70%-30%? Why is the required debt ratio limited to 50% only? | This provision is set to measure the ability of the Genco to fulfill its obligations to its creditors. The 50% leverage is enough to ensure sustainable operation and delivery of electricity by the Genco.
37 | Annex C | 1.4 (vii) Financial Documents | Financial Ratios indicating liquidity measurement ratio, debt ratio, profitability ratio and operating performance ratio | May we know the intention of this requirement? Aside from the debt ratio not exceeding 50%, are there other qualifying ratios for eligibility? | The requirement will be used to asssess the future sustainability of the genco, to ensure continous delivery of electricity and enforcement of the contract. Kindly provide us also your computation for your liquidity (current ratio) and profitability ratio (gross profit margin)
38 | Annex C | 1.4 (vii) Financial Documents |  | In lieu of Financial ratios required under these section, would it be possible if the bidder will provide instead the Debt Service Capability Ratio (DSCR) submission to ERC? | Yes. Actual DSCR calculation covered by the existing COC.
39 | Annex C | 1.4 (vii) Financial Documents |  | May the bidders provide financial documents of the parent company? | Yes. Kindly establish to the satisfaction of this provision that the parent has control over the affiliate.
40 | Annex C | 2.2 (j) Technical Proposal | Planned Preventive Maintenance Schedule | What is the intention of the document considering that there is no outage allowance per ITB? Are bidders allowed to submit the 3-year GOMP approved by NGCP and DOE for this requirement? | GOMP is acceptable. The required document will be used by the TWG in the post-evaluation how the Bidder performs to ensure that the nominated plants are reliable
41 | Annex C | 1.2 Legal Documents | d. Shareholder’s Agreement/ Latest GIS | Please confirm that the requirement is to submit EITHER the Shareholders’ Agreement OR the latest GIS. Are we required to submit 2 copies of the GIS to ensure compliance with the list of Legal documents? Or 1 submission would suffice for all the line items concerning the GIS? | For the purpose of harmonizing, Letter (d) shall be Shareholder's Agreement and letter (h) shall be the General Information Sheet
42 | Annex C | 1.2 Legal Documents | d. Shareholder’s Agreement/ Latest GIS h. 5. General Information Sheet submitted to the SEC | For clarity, kindly confirm that the two requirements/items are the same. If so, should the bidders submit two (2) copies of SEC stamped GIS? Or one (1) SEC stamped and one (1) photocopy would suffice? | For the purpose of harmonizing, Letter (d) shall be Shareholder's Agreement and letter (h) shall be the General Information Sheet
43 | Annex C | 1.2 (h) Legal Documents | Documentary proof of Bidder’s Compliance with tax obligations such as: A Certification under Oath from Bidder’s responsible officers that the Bidder is free and clear of all liabilities with the government (Annex D-8) | Please confirm that there is no Annex D-8. Per your advice, this documentary requirement refers to and is the same as Annex D-6. If so, we would have to submit 2 sets of Annex D-6 to comply with the 2 requirements. Further, we understand that a certification from one (1) officer is sufficient. Although the list of requirements mentions “officers”, in Annex D-6, there is only 1 signatory who will certify. | Yes.
44 | Annex C | 1.5 (a) Class "B" documents | Secretary’s Certificate designating the Bidder’s authorized representative/s who will sign (a) the documents required in this Bid, and (b) the Power Supply Agreement (PSA), bearing certified sheets containing at least three (3) specimens of full signature and three (3) initials of the designated representative/s; | For the purpose of Bid submission, may we request that Sec Cert requirement and specimen signature will be limited to item a) only - i.e. the Bidder's authorized representative/s. This given that the PSA signatories will be totally different individual, such requirement maybe be required during PSA signing. | Denied.
45 | ITB | 11.1 | For this purpose, “Unsatisfactory Performance” means any of the following within five (5) years prior to the Deadline of Bid Submission | Will a plant which has commercially operated for less than 5 years be disqualified under this provision? | No
46 | ITB | 14.2.2.b | b) Matrix of the Bidder’s ongoing projects and generation portfolio with the following minimum information for each power plant: i. The name of the power plant ii. Installed and dependable capacity of the power plant iii. Type of power plant according to fuel or energy source iv. Location (address) of power plant v. Year the power plant was built and commissioned; vi. Number and average duration of scheduled and unscheduled outages for the last five (5) years, or the actual outage data for new power plants operating for less than five years supported by a Certification issued by the System Operator or client distribution utility. | 1. Can the Bidders submit ANNEX B-2 (GENERATION PORTFOLIO / CUSTOMER PORTFOLIO) to comply with this requirement? | 1. YES
47 | ITB | 14.2.2.c | c) Matrix of Bidder’s customers with whom the Bidder have power plant operation, rental or power supply contracts. The statement shall include, for each customer the following: i. Name and address of company ii. Telephone, cellphone and fax numbers, website URL, and emailaddress of the company iii. Name and position of authorized contact person(s) iv. Telephone and cellphone number and email address of contact person(s) v. Number and average duration of scheduled and unscheduled outages for the last five (5) years, or the actual outage data for new power plants operating for less than five years supported by | 2. Is there an alternative document we can submit in lieu of the Certification issued by the System Operator? | 2. Certification can be issued by the System Operator OR client distribution utility
48 | ITB | 14.2.2.d | d) Copy of Certificate of Compliance issued by ERC or Service Contracts from the DOE as well as copies of its Generation Company Information Sheet (GCIS) and Generation Company Management Report (GCMR) submission to ERC for the last five (5) years and the last 2 years in the case of RE. | Will the TPBAC allow Bidders who are operating less than 5 years to submit all available GCIS and GCMR reports (for TVI from 2019-2023) and a write up that its commercial operations is less than 5 years? Is there a need for a certification or a special document that can be submitted to comply with this provision? | Yes. Please provide write-up duly signed by authorized representative that commercial operation is less than 5 years.
49 | ITB | 14.3.a | a) Secretary’s Certificate designating the Bidder’s authorized representative/s who will sign (a) the documents required in this Bid, and (b) the Power Supply Agreement (PSA), bearing certified sheets containing at least three (3) specimens of full signature and three (3) initials of the designated representative/s; | Can the signatures and initials of the designated representatives be submitted through an attached annex to the Secretary's Certificate? | Denied.
50 | ITB | 14.4 | 14.4 The Bidder shall indicate "N/A" for requirements that are not applicable to them. | Will the TPBAC require the Bidders to submit a letter consolidating the list documents which are not applicable to them? | Please observe compliance to the bid forms contained in the bid documents
51 | ITB | 17.2 (d) | Copy of Fuel/Coal/Steam Sale Agreement | Given that the fuel supply agreement contains confidential information, will the TPBAC allow Bidders to submit a redacted copy? If yes, what specific provisions will the TPBAC check from the Agreement? | Bidder may provide a redacted copy of the agreement, provided that the following data can still be clearly seen: 1. duration of the contract 2. computation of charges/fees 3.
52 | ITB | 17.2 (k) | Risk Mitigation Plan for 2023 and 2024 as mandated under RA 10121 | 1. Will the TPBAC provide a sample template which the Bidders can use as reference? 2. Will a Resiliency Compliance Form (RCP) submitted and received by DOE suffice for this requirement? | Yes. RCP will suffice.
53 | Revised Annex B-1 | Financial Proposal | Financial Proposal | 1. Will the TPBAC provide its own CPI projections in the Financial Proposal considerting that Bidders may have different projections? 2. Why are columns C and D in the table under the Bid Form 1a tab, starting from cells E and F26 locked when these cells are needed for the computation of the Present Value and LCOE? 3. For the fuel tabs, are we allowed to input the energy generated in kWh lower than the required baseload kWh? 4. For Bid Form 1b Fuel Local 1 and Local 2, will the TPBAC/TWG input the FOREX data given that the cells are locked? 5. What is the basis of the 3.50% assumed rate of return? 6. Kindly confirm that the computation of the effective rate for the month with PPD in p/kWh under Bid Form PPD tab is going to come from the Bidders. | Please see “STANDARD GUIDE FOR COMPLETING ANNEX B-1 (FINANCIAL PROPOSAL)”
54 | Annex A (Draft PSA) | PSA | PSA | Will the TPBAC be open to negotiating the terms of the PSA with the Winning Supplier? | Yes, as long as such terms will not affect the rate computation
55 | Annex D-1 (Omnibus Sworn Statement) | Paragraph 7 | 7. Therma Visayas, Inc. (TVI) is aware of and has undertaken the following responsibilities as a Bidder: a) Carefully examine all of the Bidding Documents; b) Acknowledge all conditions, local or otherwise, affecting the implementation of the PSA; c) Make an estimate of the facilities available and needed for the PSA to be bid, if any; d) Inquire about or secure Supplemental/Bid Bulletin(s); and e) Accepted and will abide to all the procedures, requirements, rules and regulations issued by the NOCECO TPBAC through the Bidding Documents. | Will the TPBAC allow the Bidder to remove Sec. b of the Omnibus Sworn Statement or at least provide a reservation on the acknowledgment of the conditions of the PSA since the provisions and terms of the PSA are still subject to negotiation after the Notice of Award is given to the Winning Bidder? | Denied.
56 | PSA | 1.1 Definitions | "1.1 Definitions. In this Agreement: “Agreement” means this Power Supply Agreement (PSA) including each of the Schedules attached hereto, and any amendments hereof..." | Will the TPBAC allow the following definitions to be added to the PSA? “Applicable Law” refers to laws, statutes, orders, issuances, ordinances, rules, rulings, regulations, codes, decisions, opinions or interpretations of any Governmental Authority pertinent to or affecting a Party or both Parties. “Business Day” means a day on which banks are open for business in ____ City, and _____ Philippines, excluding a Saturday or Sunday. “Necessary Approval” means approval by the ERC of all the terms and conditions of this Agreement, as required under Section 8.3 of this Agreement. “Replacement Power” refers to energy from alternative sources provided by the SELLER to NOCECO during outages and, subject to Article 5, Force Majeure events. | This can be considered.
57 | PSA | 2.2.3 | 2.2.3 SELLER shall provide all necessary and reasonable assistance to NOCECO in its application for approval of this Agreement before the ERC. NOCECO and SELLER shall file with the ERC the joint application for the approval of the PSA in accordance with ERC Rules within eight (8) calendar days after confirmation of the Notice of Award. The Power SELLER shall make the necessary adjustments in accordance with the directive of the ERC. The SELLER shall provide for the legal services of the joint application, with full support from NOCECO. | Will the TPBAC consider extending the period for joint filing to allow for PSA negotiations between the TPBAC and the Winning Bidder? | DC 2018-02-0003 Section 8.10 Each CSP shall be completed within 5 months from the time of publication of invitation to bid until submission of PSA to the ERC. NOCECO may adjust as long as the above provision is not violated.
58 | PSA | 2.2.3 and 2.2.4 | 2.2.3 "...The Power SELLER shall make the necessary adjustments in accordance with the directive of the ERC. The SELLER shall provide for the legal services of the joint application, with full support from NOCECO. 2.2.4 Downward adjustment in the rates, as approved by the ERC shall not be a ground for the termination of the contract and NOCECO shall not be made to shoulder the incremental difference." | Will the TPBAC consider merging the provisions of Sec. 2.2.3 and Sec. 2.2.4 under one section and reflect this suggested the provisions: "2.2.3 SELLER shall provide all necessary and reasonable assistance to NOCECO in its application for approval of this Agreement before the ERC. NOCECO and SELLER shall file with the ERC the joint application for the approval of the PSA in accordance with ERC Rules within eight (8) calendar days after confirmation of the Notice of Award. In the event that the Necessary Approval shall have the effect of impairing the terms and conditions of this Agreement in any respect: a) The SELLER may file a Motion for Reconsideration with the ERC to question the Necessary Approval. b) Notwithstanding item (a) above, the Parties shall immediately meet to discuss and execute an agreement (which may include an amendment of this Agreement) to restore the commercial position of the SELLER prior to the issuance of the Necessary Approval. Pending discussions of the Parties under the immediately preceding paragraph or pending any decision by the ERC on the Motion for Reconsideration under item (a) above, the SELLER may, at its option, suspend delivery of the Contracted Capacity upon [xx] days’ prior written notice to NOCECO. In the event that the agreement referred to in the immediately preceding paragraph is not executed within [xx] days from the receipt by the Supplier of the Necessary Approval,, or in the event of a denial by the ERC of the Motion for Reconsideration filed under item (a), Supplier may terminate this Agreement upon 30 days’ prior written notice to Customer, without any liability or penalty under this Agreement. c) The Parties agree that any disallowance or refund of any part of the Electricity Fees that may be directed by a Necessary Approval shall be for the account of Customer, and at no instance shall the Supplier be liable to Customer or any third party for such disallowance or refund. The Parties further agree that all of the Supplier’s supply of Contract Energy to Customer under this Agreement shall be at the fees determined in accordance with Schedule 6.2.1 - Rate Schedule." | DC 2018-02-0003 Section 8.10 Each CSP shall be completed within 5 months from the time of publication of invitation to bid until submission of PSA to the ERC. NOCECO may adjust as long as the above provision is not violated.
59 | PSA | 2.3.4 and 2.3.5 | 2.3.4 NOCECO and SELLER shall file with the ERC the joint application for the approval of the PSA in accordance with ERC Rules in eight (8) calendar days after confirmation of the Notice of Award. The Power SELLER shall make the necessary adjustments in accordance with the directive of the ERC. The SELLER shall provide for the legal services of the joint application, with full support from NOCECO. 2.3.5 Downward adjustment in the rates, as approved by the ERC shall not be a ground for the termination of the contract and NOCECO shall not be made to shoulder the incremental difference. | Will the TPBAC consider deleting Sec. 2.3.4 and Sec. 2.3.5 as such sections are aleady provided under Sec. 2.2.3 and 2.2.4? | Denied.
60 | PSA | 2.4.1 | 2.4.1 The Parties shall mutually collaborate and cooperate with each other and act in good faith in order to achieve the objectives of this Agreement. Throughout the duration of the cooperation period, authorized representatives from NOCECO and the winning bidder shall meet not later than the first billing period of the 5th year of the contract period to discuss any concern arising from the implementation of the contract to ensure that arrangements between Parties proceed on a mutually satisfactory basis. During the meeting, both parties shall discuss if the contract terms are still fair, reasonable, acceptable, and applicable to the prevailing market situation for the rest of the contract duration. If there is a significant change in circumstances that would impact the performance or profitability of this Agreement, either party may request a renegotiation of the terms and conditions of this Agreement. Such a request shall be made in writing and delivered to the other party, specifying the nature of the change in circumstances, and proposing alternative terms and conditions. The parties shall then engage in good faith negotiations to attempt to agree on mutually acceptable alternative terms and conditions. If the parties are unable to reach an agreement within sixty (60) calendar days from the initial meeting, either party may issue a Notice to Terminate. Article 9.3 shall apply. | Will the TPBAC consider deleting this provision and instead replace it with a provision on Change in Law or Circumstances such as the suggested provision below: 2.4.1 The Parties shall mutually collaborate and cooperate with each other and act in good faith in order to achieve the objectives of this Agreement. If, as a result of any amendment, modification or change in Applicable Law or ERC rules and regulations after the date of this Agreement, or any decision or order by any court or Governmental Authority which provides for a new or change in the interpretation of Applicable Law or ERC rules and regulations, SELLER becomes liable to pay any new charges or any increased charges and adversely affects the ability of Supplier to perform or materially increases the operating costs or capital expenditures associated with the Power Plant or materially and adversely affects its performance of its obligations under this Agreement: a) If the ERC has issued a directive or order allowing SELLER to pass-on such new or increased charge to NOCECO, the new or increased charges shall form part of the Electricity Fees and shall be paid in accordance with this Agreement; b) If the ERC has not issued any directive or order regarding said new or increased charges, SELLER shall have a right to request for approval from the ERC to pass-on such new or increased charges to NCECO. If the ERC disapproves the SELLER’s request, the Parties shall negotiate in good faith with a view to agreeing on a satisfactory solution to restore the commercial position of the Parties prior to the occurrence of the applicable change in law or ERC or Governmental Authority issuance. If the Parties fail to arrive at a solution within ninety (90) days from commencement of negotiations in accordance with item (b), SELLER shall be free to terminate this Agreement and shall not be liable for a termination fee or any other penalty." | Denied.
61 | PSA | 3.4 | 3.4 Start of Supply of Electricity. The supply of electricity by SELLER and acceptance by NOCECO shall start no later than the Initial Delivery Date which shall mark the beginning of the Cooperation Period or such earlier date as the Parties may mutually agree upon in writing, and the satisfaction of the conditions precedent provided under Article 8. | Will the TPBAC consider amending this section based on the suggested provision below? 3.4 Start of Supply of Electricity. The supply of electricity by SELLER and acceptance by NOCECO of energy from the Power Plant shall start no earlier than the Initial Delivery Date which shall mark the beginning of the Cooperation Period, subject to the satisfaction of the conditions precedent provided under Article 8. | This shall be considered.
62 | PSA | 3.6.2 | 3.6.2 Obligations During Outage During outage, SELLER shall have the obligation to source replacement power to fulfill the Minimum Contracted Energy of the NOCECO, and the SELLER shall shoulder any incremental cost in providing the same. In the event that SELLER cannot provide NOCECO with a replacement power, NOCECO shall be allowed to source the replacement power at the expense of the SELLER. SELLER shall immediately notify the NOCECO of its inability to provide replacement power through a telephone call or any other expeditious manner. The notice shall indicate the reasons for its inability to find replacement power, the capacity, and duration. If the notice is sent verbally, such verbal communication shall be followed by written notice to NOCECO. | 1. If Supplier is able to provide the whole Contracted Capacity through Replacement Power, will this provision still apply? 2. Under this provision: "During outage, SELLER shall have the obligation to source replacement power to fulfill the Minimum Contracted Energy of the NOCECO, and the SELLER shall shoulder any incremental cost in providing the same", what will constitute the incremental cost? | NOCECO shall pay the Supplier with the RP rate equivalent to the ERC approved contract rate or actual, whichever is lower. Therefore, any other costs in the procurement of replacement power shall be shouldered by the Supplier.
63 | PSA | 3.6 | 3.6 Reduction in Contracted Capacity. NOCECO shall be entitled to a reduction in its Contracted Capacity as a result of the transfer of any of the NOCECO’s customer to another SELLER, in compliance to the Retail Competition and Open Access (RCOA) and any other issuances by the Philippine government in which NOCECO is obliged to comply. This shall be imposed upon written application by the NOCECO to the SELLER at least thirty (30) days prior to such reduction. Contracted capacity will be adjusted in proportion to all contracted volume and capacity from all SELLERs. Revision of monthly minimum energy off-take shall be undertaken by both parties. NOCECO shall be entitled to a reduction in the Contracted Capacity to the extent described below: 3.6.1. the NOCECO’s customer procures electricity from SELLER, in which case NOCECO shall be entitled to a reduction in the Contract Capacity equivalent to the average hourly coincidental peak demand of such the NOCECO’s customer for the last twelve (12) calendar months prior to such disconnection; and | Will the TPBAC consider amending Sec. 3.6 and delete subsection 3.6.1 based on this suggested provision: 3.6 Reduction in Contracted Capacity. During the implementation of Retail Competition and Open Access (RCOA), Green Energy Option Program (GEOP), and similar policies or rules allowing for an end-user’s choice of supplier, NOCECO shall be entitled to a reduction in its Contracted Capacity as a result of the transfer of any of the NOCECO’s contestable market customers to another supplier, This shall be imposed upon written application by the NOCECO to the SELLER at least thirty (30) days prior to such reduction. The reduction in Contracted Capacity shall be to the extent that the need for such reduction is the result of the transfer of NOCECO’s contestable market customers and provided that the reduction shall not exceed the ratio the Contracted Capacity bears against NOCECO’s total contracted volume and capacity from all of NOCECO’s suppliers (including SELLER). Revision of monthly minimum energy off-take shall be undertaken by both parties. In addition to the conditions indicated in the immediately preceding sentence, NOCECO shall be entitled to a reduction in the Contracted Capacity under the following conditions: | Denied.
64 | PSA | 3.6.2 | 3.6.2. the NOCECO’s customer procures electricity from any supplier who does not supply electricity to NOCECO, in which case NOCECO shall be entitled to a reduction in the Contract Capacity equivalent to the average hourly coincidental peak demand of such customer for the last twelve (12) calendar months prior to such disconnection multiplied by the proportion of the Contracted Capacity to the total capacity contracted by the NOCECO with all of its Suppliers of electric power (including the SELLER). | Will the TPBAC consider amending Sec. 3.6.2 based on this suggested provision: If NOCECO’s customer procures electricity from any other supplier, NOCECO shall be entitled to a reduction in the Contract Capacity equivalent to the average hourly coincidental peak demand of such NOCECO’s customer for the last twelve (12) calendar months prior to such transfer multiplied by the proportion the Contracted Capacity bears against the total capacity contracted by NOCECO with all of its suppliers (including the SELLER). | Denied.
65 | PSA | 4.4 | 4.4 Billing Disputes. If NOCECO disputes any invoice, it shall so inform SELLER in writing within ten (10) calendar days from receipt of such invoice. The NOCECO must specify the disputed items in the invoice. If the dispute is not resolved by the due date, NOCECO shall pay the undisputed amount on or before such due date and the disputed amount shall be resolved within fourteen (14) calendar days after due date for such invoice. In case the dispute is not resolved in fourteen (14) calendar days, then Article 12 shall apply. It is understood that any dispute of the invoice under Article 4.5 shall be made in good faith. | Will the TPBAC consider amending this provision and allow payment of disputed amounts under protest: If Customer disputes any Billing Statement, Customer must notify Supplier in writing by the twelfth (12th) day of the Payment Month, specifying in said notice the items that are disputed in the Billing Statement. If the dispute is not resolved by the Payment Date, Customer shall pay the full amount stated in the Billing Statement on or before such due date, with the disputed portion paid under protest. The Parties shall endeavor in good faith to resolve the dispute within ten (10) days after payment in full of the amount stated in the Billing Statement. In case the dispute is not resolved within ten (10) days, then the matter shall be deemed to be a Dispute under and governed by Article 17. | This shall be discussed with the Winning Bidder.
66 | PSA | 5.1 | 5.1 Force Majeure. "a. Force Majeure events may include without limitation:..." | 1. Will the TPBAC consider amending this section based on this suggested provision: 5.1 Force Majeure. a. Force Majeure means any event, matter or circumstance that is unforeseeable or is outside the reasonable control of a Party and prevents or restricts the performance by that Party of its obligations hereunder. Force Majeure events may include without limitation: 2. Will the TPBAC consider adding this provision to Section 5.1: b. With respect to SELLER, (a) the full or partial inability or failure of the SELLER to Deliver electricity directly from the Power Plant due to any event or circumstance described in the preceding paragraph, and (b) the failure or inability of the SELLER to manage and control the Power Plant, on account of any failure or delay in the delivery of fuel to, or the failure or inability of the SELLER to take and accept deliveries of fuel at, the Power Plant due to any event or circumstance described in the preceding paragraph, or any act of any Governmental Authority preventing the the SELLER from continued operations as owner and operator of the Power Plant or preventing access to the Power Plant or its related facilities shall be treated for all purposes of this Agreement as Force Majeure events, provided that such events are not due to the fault or negligence of the SELLER | Denied.
67 | PSA | 5.2 | 5.2 Effect of Force Majeure. Neither Party shall be liable for any failure or delay in the performance of its obligations under the contract in case of, but only to the extent caused by, any event of Force Majeure; provided, that the relief granted by this provision shall be available only if and to the extent the Party claiming relief has and continues to take all steps reasonably within its control to mitigate the effects of such Force Majeure event, and in no event shall late payment or non- payment of money due be excused. | Will the TPBAC consider amending Section 5.2 based on this suggested provision: "5.2 Effect of Force Majeure. Neither Party shall be liable for any failure or delay in the performance of its obligations under the contract in case of, but only to the extent caused by, any event of Force Majeure; provided, that the relief granted by this provision shall be available only if and to the extent the Party claiming relief has and continues to take all steps reasonably within its control to mitigate the effects of such Force Majeure event, and in no event shall late payment or non- payment of money due be excused. During such Force Majeure event, the SELLER may offer Replacement Power from alternative sources, which may include the WESM, for which the SELLER, if NOCECO accepts, shall charge NOCECO the prevailing WESM price or the Contract Rate, whichever is higher." | Denied.
68 | PSA | 5.8 | 5.8 Force Majeure Events with a duration of less than thirty (30) consecutive days are not obliged to provide Replacement Power. Otherwise, the SELLER is obliged to source Replacement Power for NOCECO | Will the TPBAC consider amending section 5.8 and incorporate the amended paragraphs under the suggested provision under Sec. 5.2? Effect of Force Majeure. Neither Party shall be liable for any failure or delay in the performance of its obligations under the contract in case of, but only to the extent caused by, any event of Force Majeure; provided, that the relief granted by this provision shall be available only if and to the extent the Party claiming relief has and continues to take all steps reasonably within its control to mitigate the effects of such Force Majeure event, and in no event shall late payment or non- payment of money due be excused. During such Force Majeure event, the SELLER may offer Replacement Power from alternative sources, which may include the WESM, for which the SELLER, if NOCECO accepts, shall charge NOCECO the prevailing WESM price or the Contract Rate, whichever is higher. | Denied.
69 | PSA | 6.1 | 6.1 The SELLER shall be penalized (monetary, etc) in cases of the following events and circumstances: i. Delay in Delivery on Target Delivery Date ii. Given that the requirement states that there is no “Outage Allowance”, the SELLER shall be penalized should it fail to provide Replacement Power if the main power plant source cannot deliver power, resulting in a failure of delivery of power; and iii. Other provisions found in this PSA. During Force Majeure, the actual metered quantity shall be applied. Penalties on the off-taker shall not be imposed. No penalty shall be imposed on the off-taker if there is a reduction of energy purchased due to the implementation of Open Access (RCOA). | Will the TPBAC consider amending this provision since the failure to provide replacement power can already be remedied by NOCECO procuring its own supply? "6.1 The SELLER shall be penalized (monetary, etc): i. if SELLER fails to provide Replacement Power during an outage,, resulting in a failure of delivery of power; and ii. For violations of other provisions of this PSA. Penalties payable by SELLER under this Article shall be computed in accordance with ____. " | Denied.
70 | PSA | 9.1 | 9.1 NOCECO may terminate the Agreement by written notice to the SELLER in cases of: i. Events of default a. The unexcused or willful failure of SELLER to comply with its material obligations under this Agreement, including but not limited to the failure of the SELLER to deliver the Contracted Capacity on Initial Delivery Date and after a grace period of ninety (90) days from the time of notice of demand from NOCECO in accordance with section 9.1.1 below; and b. SELLER ceases or discontinues to deliver electricity for a period of forty five (45) consecutive days, except in instances allowed under this Agreement. ii. Expiration of Term and/or Upon Mutual Agreement iii. Non-fulfillment of conditions of effective date; iv. Non-concurrence of Commencement Date or Commercial Operation Date; v. Events of Force Majeure; and vi. When the SELLER fails to supply for a period of Sixty (60) days for reasons wholly attributable to its fault and/or negligence, provided that, the Supplier fails to take reasonable actions or remedies to solve its inability to deliver capacity and energy. vii. ERC delayed approval, whether provisional or final, of more than one (1) year upon application for joint approval of the PSA. | Will the TPBAC consider amending the grounds for termination and add an additional ground as provided in the suggested amendment below: 9.1 NOCECO may terminate the Agreement by written notice to the SELLER in cases of: i. Events of default a. The unexcused or willful failure of SELLER to comply with its material obligations under this Agreement, including but not limited to the failure of the SELLER to deliver the Contracted Capacity on Initial Delivery Date and after a grace period of ninety (90) days from the time of notice of demand from NOCECO in accordance with section 9.1.1 below; and b. SELLER ceases or discontinues to deliver electricity for a period of forty five (45) consecutive days, except in instances allowed under this Agreement. c. When the SELLER fails to supply for a period of sixty (60) days for reasons wholly attributable to its fault and/or gross negligence,; ii. Expiration of the Cooperation Period and/or early terminationu pon mutual agreement by the parties; iii. Prolonged Events of Force Majeure under Section 5.7; and iv. Delay in the release of the ERC’s approval of the Agreement, whether provisional or final, of more than one (1) year from the submission of the Parties’ application for approval of the PSA. | This shall be considered.
71 | PSA | 9.2 | 9.2 The SELLER may terminate the Agreement by written notice to NOCECO when: i. NOCECO Discontinue Operations ii. NOCECO Declares bankruptcy; or iii. Any financial obligation of NOCECO is not paid within any applicable grace period. iv. After 1 year of cooperation period, SELLER has determined the existence of conditions that have an actual negative effect on the economic and financial operations of the SELLER which shall lead to bankruptcy if continued. | Will the TPBAC consider amending the grounds for termination and add an additional ground as provided in the suggested amendment below: 9.2 The SELLER may terminate the Agreement by written notice to NOCECO when: i. (a) NOCECO admits in writing its inability to pay any debt as and when they fall due; (b) any bankruptcy, insolvency, suspension of payment, reorganization or similar proceedings are commenced by or against NOCECO; (c) as part of a scheme of arrangement or composition with its creditors, the NOCECO makes any assignment for the benefit of its creditors; or (d) an effective order is made , or an effective corporate resolution is passed, for the liquidation, winding-up or dissolution of the Customer; ii. A receiver or trustee in bankruptcy, insolvency, suspension of payment, reorganization or similar proceedings is appointed in respect of all or any material part of the Customer’s assets and such appointment is not set aside or stayed within sixty (60) days; iii.The Customer ceases or discontinues operations for a period of thirty (30) consecutive days; iv. Any financial obligation of NOCECO is not paid when it falls due under the terms of this Agreement and the expiration of any applicable grace period. | This shall be considered.
72 | PSA | 9.2.1 | 9.2.1 Procedure for SELLER to Terminate For Article 9.2.i, 9.2.ii, and 9.2.iii, SELLER shall send NOCECO a Notice of Default after the lapse of the respective periods indicated above. NOCECO shall then have thirty (30) days from its receipt of the Notice of Default to cure the NOCECO Default. If NOCECO fails to cure the NOCECO’s Default within the 30-day curing period, SELLER may send NOCECO a Termination Notice thereafter, and this Agreement shall be effectively terminated thirty (30) days from NOCECO’s receipt of the Termination Notice. For 9.2.iv., both Parties shall enter into good faith negotiations for ninety (90) calendar days upon receipt of Notice of Default, to come to an agreement that will mend the negative effect on the Transaction. If no agreement has been reached by both parties by the end of the 90th calendar day of the negotiation, the SELLER will continue to provide NOCECO with power for the next six (6) billing months before formally terminating the contract thru a Termination Notice with either Party having no liability to pay the termination fee. | Will the TPBAC consider amending this section and reflect the suggested provision below? 9.2.1 Procedure for SELLER to Terminate For Article 9.2.i, 9.2.ii, and 9.2.iii, SELLER may terminate the Contract with immediate effect by serving the Termination Notice to the Customer. For Article 9.2.iii, SELLER shall send NOCECO a Notice of Default after the lapse of the period indicated above. NOCECO shall then have thirty (30) days from its receipt of the Notice of Default to cure the event ofefault. If NOCECO fails to cure the default within the 30-day curing period, SELLER may send NOCECO a Termination Notice thereafter, and this Agreement shall be effectively terminated thirty (30) days from NOCECO’s receipt of the Termination Notice. | This shall be considered.
73 | PSA | 13 | The Parties agree to submit to the exclusive jurisdiction of the ERC for the hearing and determination of any action or proceeding arising out of or in connection with this Agreement, to the exclusion of all other courts and tribunals. | Will the TPBAC consider amending this section based on the proposed changes below: Any dispute that is not resolved between the Parties in accordance with the provisions of Article 12 shall, unless the dispute falls within the original and exclusive jurisdiction of the ERC, be submitted to the jurisdiction of the proper court specified of ______ City, to the exclusion of all other courts elsewhere situated, and the Parties agree that such court is an appropriate forum for the settlement of disputes and waive any claim or assertion that such courts are an inconvenient forum. | This shall be considered.